|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Building & Room:**  |  |  |  |  |  |  |
| **Primary Contact for the Autoclave:**  |  |  |  |  |
|  |  |  |  |  |  |  |  |
| **DATE OF TEST**  | **BIOLOGICAL INDICATOR USED** | **START TIME** | **RUN TIME** **(30 min. minimum)** | **CHAMBER PRESSURE****(15 PSIG minimum)** | **TEMP****(121°C minimum)** | **RESULT (PASS / FAIL)**  | **PERSON PERFORMING VALIDATION** |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |