|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Building & Room:** | |  |  |  |  |  |  |
| **Primary Contact for the Autoclave:** | | | |  |  |  |  |
|  |  |  |  |  |  |  |  |
| **DATE OF TEST** | **BIOLOGICAL INDICATOR USED** | **START TIME** | **RUN TIME**  **(30 min. minimum)** | **CHAMBER PRESSURE**  **(15 PSIG minimum)** | **TEMP**  **(121°C minimum)** | **RESULT (PASS / FAIL)** | **PERSON PERFORMING VALIDATION** |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |